## Sheet1
|  | SECTION A: Applicant Details (CPO/ICP) | [7 empty] | SECTION B: End Customer/Supply Owner Details (e.g. Local Authority) |  |  |  |  | SECTION C: Location of installation / Site Address |  |  |  |  | SECTION D: Existing Supply Details | [5 empty] | SECTION E: Proposed Supply
| Surgery Enquiry Reference Number | Contact Name | Company | Applicant Address Line 1 | Applicant Address Line 2 | Town | Postcode | Phone | Email | End Customer Name | Contact | Address | Postcode | Email | Street Furniture Column Number | Grid Reference | Installation Address Line1 | Town | Postcode | Unmetered Connection | Unmetered MPAN - Last 13 Digits | The cut-out fuse is 25 Amps | The service has a minimum cable size of 4mm² CU | The supply is deemed safe | Service is not looped | The charging equipment single phase? | Rating of Charging Equipment (kVA) | The proposed maximum load at the connection ≤ 5.75kVA | The Earthing Arrangement complies with Section 3.4 of NGEDs Standard Technique: SD5F | The installation complies with the requirements of Section 3.1.1 of NGEDs Standard Technique SD5F | The supplying transformer has sufficient headroom | The impedance of the connection satisfies the requirements of Table 1 in NGEDs Standard Technique SD5F | The proposed installation complies with the BS EN 61000-3-2 and 61000-3-3 for harmonics & flicker | Installation Date
GUIDE / DATA SOURCE | Reference number from approval email | CPO/ICP Contact Name | CPO/ICP | Installer Address | Installer Address | Town | Postcode | Tel. | email | Local Authority Name | Local Authority Contact name | Local Authority HQ First Line Address | Local Authority HQ Postcode | Local Authority email | Street Light Column Number | Easting and Northing Grid References for Column | Nearest Property number, Road/Street | Town | Postcode | Yes/No | CPO's EV unmetered MPAN for the relevant Local Authority (MUST begin with 11, 14, 21 or 22) Source: UMSO | Source: Onsite Inspection | Source: Onsite Inspection | Source: Onsite Inspection confirm the existing service has no signs of damage | Source: On-site inspection of the service and the 2 adjacent column services) | Source: On-Site inspection | Rating of EV Charger (kVA) | Inclusive of the existing load plus new charging equipment | Confirmation that the proposed earthing arrangement that complies with SD5F | Source: Data Portal 2 • Transformer rated <200kVA: No more than two installations per substation • Transformer rated >315kVA: No more than four installation per circuit | Source: https://connecteddata.nationalgrid.co.uk/dataset/?q=EV+capacity Ensure aggregate capacity will not overload the transformer | Source: On-site measurement of connection impedence | Source: Manufacturers Specifications | Date of charge point installation [XX/XX/XXXX]
Note on AH2: Electric vehicle charging equipment with a rating of up to 25A and an AC output will be deemed to comply